READ THIS FIRST

This Project Spec Document may need additional modifications to suit your project. It is recommended that you proofread each section, paying attention to any “Notes” boxes such as this one--you should remove these “Notes” sections as you go. Also, do a search for all bracket characters “ [ ] “ as they are used to show you areas containing options or project specific details (you can use Microsoft Word’s Find feature {Ctrl-F} to jump to an open bracket “ [ “ character quickly). Again, these bracket characters should be removed.

It is important that every paragraph be numbered to allow for easy referencing. If you use the document’s built in styles and formatting your outline should be fine (turn on the formatting toolbar by going to View > Toolbars > Formatting). Most paragraphs will use the style “Numbered Material” and can be promoted (Shift) or demoted (Shift-Tab).

You should not have to manually enter extra spaces, carriage returns or outline characters such as A, B, C, or 1.01, 1.02; the formatting will do this for you. The entire document is 11 pt. Arial. If you paste items in, you may need to reapply the “Numbered Material” format.

- GENERAL

  - SUMMARY OF WORK

    - The extent and location of “Door Louver” Work is shown in the Contract Documents.

  - GOVERNING CODES, STANDARDS, AND REFERENCES

    - None.

  - SUBMITTALS

    - Submit material data in accordance with Section 01 33 00 - Submittals. Furnish manufacturers’ technical literature, standard details, product specifications, and installation instructions for all products.

    - The submittal shall include the following:

      - Shop Drawings: Submit shop drawings for the fabrication and erection of louver assemblies which are not completely shown by the manufacturer’s data sheet. Include details of sections and connections at not less than 3”-to-1’0” scale. Show anchorage and accessory items.

  - PRODUCT DATA

    - Submit manufacturers' published literature for specified products and accessories as applicable, including manufacturers' specifications, physical characteristics and performance data. Submit as a supplement, manufacturers' instructions and directions for application if not included in manufacturers' published literature.

- PRODUCTS

A.	If only one product is acceptable (single or sole source product), obtain an approved Competition Waiver and submit to the CPO Construction, Contract Administrator.  The language shall read as: “Manufacturer Name, Product # XXXXX, No Equal.”  Refer to CPO-6 Competition Waiver Policy for more information.

B.	If a Competition Waiver is not approved or more than one product is acceptable, this section must list a minimum of 2 products plus the language “Or Approved Equal,” along with salient characteristics.  Refer to CPO Construction’s Salient Characteristics Guidelines for more information.

  - BASIS

    - Items are specified by name and model to establish design and quality. Equal louvers with characteristics by approved manufacturers will be accepted. Approved manufacturers are Nystrom, Ventilouvre Co., Airolite Co., Ellison Louver Co., Wonder Metal Products, Ruskin Manufacturing Company, Or Approved Equal.

  - FINISH

    - Prime coat finish over bonderized steel.

  - DOOR LOUVERS

Competition waiver to be submitted to CPO for Airolite "Z" blade, Stationary, Type 560-A-12 with molding E to be the only approved product for the Port.

    - Non-Rated Louvers: Airolite "Z" blade, Stationary, Type 560-A-12 with molding E; louver thickness, 1-inch, No Equal. Provide at all locations scheduled.

- EXECUTION

  - INSTALLATION

    - Set accurately, rigid, straight, plumb, horizontal and true as appropriate. Securely anchor with bolts or other appropriate means. Adjust all moving parts to operate perfectly. Leave clean and free of defects.

- MEASUREMENT AND PAYMENT

  - GENERAL

    - No separate measurement or payment will be made for the Work required by this section. The cost for this portion of the Work will be considered incidental to, and included in the payments made for the applicable bid items in the [Schedule of Unit Prices] [Lump Sum price bid for the Project].

End of Section

Revision History:

05/01/2014 Conversion to 2004 CSI Numbering System

10/15/2014 Added Sole Source and Salient Characteristics Note to Part 2